Appendix 3

Protocol for Water Sample Filtration, Fortification, and Analysis

Oasis( HLB Extraction Cartridges

1.	All samples will be collected and prepared for analysis in 1-liter borosilicate amber bottles with Teflon-lined caps and stored in a cooler on ice for transport to laboratory when necessary.

2.	Refrigerate samples overnight at 4 C.

- Allow samples to come to room temperature before beginning extraction and measure and adjust pH of sample to 7.0.

4.	Fortify samples by adding 50 microliters of a standard pesticide solution consisting of 200 mg/L of each pesticide in methanol to the water sample (distilled deionized or surface).  Final concentration will be 10 μg/sample or L for each pesticide.  Add methanol to water at a concentration of 4 mL/L prior to filtration.

5.	Place 47 mm GF/B Whatman glass fiber filter disk (Whatman #1821-047) in a 300 mL 2-piece clamp holder (Millipore or comparable).

6.	Filter all of 1-liter sample through glass fiber filter disk and discard glass filter;  transfer water to clean container and rinse filter flask with distilled deionized (DDI) water.

7.	Replace the GF/B filter with a 47 mm 0.45 μ nylon membrane filter (Pall #66608) and filter water; transfer water from filter flask back to original container which has been well rinsed with DDI water.

8.	Unfortified water samples will be carried through exactly the same procedure as fortified samples.

PROTOCOL FOR PESTICIDE EXTRACTION (ALL LABORATORIES)

- Place Oasis( HLB cartridge (6 cc, 200 mg, Waters Part # WAT106202) in extraction manifold.  Note lot number of cartridge used for each sample.

2.	Apply vacuum and condition cartridge with 6 mL 10:90 methanol:methyl t-butyl ether.

3.	Add 6 mL distilled deionized water and draw through cartridge.

4.	Record the time and then draw the water sample (500 mL) through the cartridge.  Draw water through cartridge at approximately 4 mL/min.

- Wash cartridge with 1 mL distilled deionized water.

6.	Remove cartridges to be shipped to cooperator and place in desiccator (Ascarite) 24 hours.

7.	For samples to be done in-house, place a catch container (test tube or vial) for sample in extraction apparatus and reassemble apparatus with the cartridge still in place.

8.	Turn vacuum on and elute pesticides from cartridge with 2 - 3 mL portions of 10:90 methanol:methyl t-butyl ether. (Total volume 6 mL)

9.	Remove test tube containing solvent from apparatus.

10.	Decant the solvent into a calibrated test tube.  Rinse original tube with 2 ml of elution solvent.

11.	Evaporate solution down to 2 mL by blowing nitrogen over the top. DO NOT APPLY HEAT.

12.	Transfer sample to a 2-mL autosampler vial and cap with Teflon seal.

13.	Store samples at -20 C until analyzed.

SHIPPING INSTRUCTIONS

1.	Make sure to contact cooperator before preparing and sending samples so that samples are not stored excessive length of time.

2.	After storing overnight in a desiccator place cartridges in a ziploc plastic bag.  Make sure to label appropriately with waterproof ink and labels.

3.	Ship cartridges overnight express to corresponding cooperator in an envelope (Ex.  Federal Express envelope).

Within 24 hours of receipt of cartridges from cooperator elute the cartridge by placing cartridge on the extraction apparatus and process as outlined in Steps 7-13 of previous section.

ANALYSIS

Due to differences in instrumentation and pesticides being extracted at various sites the exact conditions will vary.  Note all operating parameters and equipment used for all analysis.  Sample analysis may utilize both gas chromatography and high pressure liquid chromatography based on decisions by the committee.