Field Extraction Unit

Equipment needed:

1 - 6 place Stainless Steel 876 mm x 152 mm x 152 mm manifold

(Millipore #xx25 047 00)

1 12 V DC Vacuum pump Barnant Air Cadet (available from VWR, Barnant #400 1903)

6 Speedisk manifold adaptors (See Figure 1)

Figure 1.  Speedisk manifold adaptor